## Sheet1
Grease Interceptor Sizing Worksheet
[6 empty] | Name |  |  |  |  | Date
Project Name
Project Address
Follow these steps to determine grease interceptor size. Please fill in the yellow boxes only.
Step 1 | [7 empty] | # of | Value of |  | Notes:
|  | Type of Fixture | [5 empty] | Fixtures | Fixture | Fixture Units
| 1.) | 3 Compartment Sink | [6 empty] | 4 | 0
| 2.) | 2 Compartment Sink | [6 empty] | 2 | 0
| 3.) | Dishwasher | [6 empty] | 4 | 0
| 4.) | Pre-Rinse Sink | [6 empty] | 2 | 0
| 5.) | Garbage Grinder | [6 empty] | 4 | 0
| 6.) | Wok | [6 empty] | 2 | 0
| 7.) | Hand Sink | [6 empty] | 1 | 0
| 8.) | Mop Sink | [6 empty] | 1 | 0
| 9.) | Floor Drains | [6 empty] | 4 | 0
| 10.) | Floor Sinks | [6 empty] | 4 | 0
| 11.) | Soup Kettle | [6 empty] | 1 | 0
| 12.) | Grill | [6 empty] | 1 | 0
| 13.) | Deep Fryer | [6 empty] | 2 | 0
0
Step 2 | Facility Type: | [9 empty] | Notes:
| Class | 1 | Delis, Ice Cream shops, Beverage Bars, Day Care Facilities (min classification)*
| Class | 2 | Limited-Service Restaurants, Carry-out, Caterers, Day Care Facilities (max classification), Full-Service Restaurants (min classification), Buffet Cafeteria Facilities (min classification)
| Class | 3 | Full-Service Restaurants (maximum classification)
| Class | 4 | Buffet and Cafeteria Facilities (maximum classification)
| Class | 5 | Institutions (Schools, Hospitals, Nursing Homes, Prisons, etc.)
Step 3 | Storage Factor: | [9 empty] | Notes:
Hours of Operation
(Round up to the nearest option)
|  |  | 8 | Hours
|  |  | 12 | Hours
|  |  | 16 | Hours
|  |  | 24 | Hours
Step 4 | Calculate Liquid Capacity: | [9 empty] | Notes:
Multiply the values obtained from step 1, 2, and 3.
|  |  | No. of Fixtures Units |  |  | Facility Type |  | Storage Factor
|  |  | 0 |  | x | 0 | x | 0
|  |  | Step 1 |  |  | Step 2 |  | Step 3
0
Step 5 | Select Grease Interceptor: | [9 empty] | Notes:
Using the approximate required liquid capacity from step 5, select an approximate size as recommended by the manufacturer.
| Calculated Interceptor Size (Gallons) |  |  |  |  | Grease Interceptor
| 0 |  |  |  |  | 1000
| From Step 4 |  |  |  |  | Step 5
*Exception to Class 1 are doughnut shops with on premise baking and large coffee shops, which are classified as Class 2 facilities
Notes:
1. | Grease Interceptor minimum size will be 1,000 gallon capacity, and maximum size will be 2,000 gallon capacity. If additional capacity is required, the FSE shall install multiple interceptors in series.
2. | Where food waste grinders and/or automatic dishwashers are installed, the GI size shall be increased by 30% of the sizing requirement.